DUMFRIES AND GALLOWAY COUNCIL

CIVIC GOVERNMENT (SCOTLAND) ACT 1982

PUBLIC ENTERTAINMENT LICENCES

NOTES FOR GUIDANCE

The following notes give an outline of the requirements for Public Entertainment Licences under the above Act.  They should be treated as guidelines only and not an authoritative statement of law.

The notes provide detailed guidance on the information which will require to be provided along with the application.

- Introduction

In accordance with the Civic Government (Scotland) Act 1982, a Public Entertainment Licence, issued by Dumfries and Galloway Council as Licensing Authority is required for the use of premises for public entertainment for an Outdoor Music Event/Festival.

  - What is a place of Public Entertainment?

A place of public entertainment is any place including land where members of the public are admitted or may use any facilities for the purposes of entertainment or recreation but does not include:-

(a)	an athletic or sports ground, being used as such;

(b)	premises which have an indoor sports entertainment licence issued under Section 41(a) of the Act while being used as such;

(c)	an educational establishment while being used as such;

(d)	premises belonging to or occupied by any religious body while being used wholly or mainly for purposes connected with that body;

(e)	premises licensed under the Theatres Act 1968, the Cinemas Act 1985 or part II of the Gaming Act 1968;

(f)	premises in respect of which there is a Permit under Section 16 of the Lotteries and Amusements Act 1976 while being used in pursuance of the Permit;

(g)	licensed premises within the meaning of the Licensing (Scotland) Act 2005 in which public entertainment is being provided during the permitted hours within the meaning of the Act;  or

(h)	premises in which machines for entertainment or amusement are being provided incidentally to the main purpose or use of the premises where that main purpose of use is not as a place of public entertainment.

1.2	What Entertainment Is Required To Be Licensed?

A Public Entertainment Licence for an Outdoor Music Event will be required for the use of premises, ie any place including the use of land, where members of the public are admitted or may use any facilities for the following purposes of entertainment or recreation:-

musical performances

concerts

2	CONDITIONS

The premises will be required to comply with the standard Conditions attached to these Notes and which will form part of the Licence being granted.

Note:  no application is the same.  If the event proposed is large scale, for example, a major open air concert involving the use of staging and other temporary structures such as marquees and temporary seating then considerable detail may be asked for and it is highly likely that there will be additional conditions added to the licence.  The Following information forms a breakdown of what the Council will expect from you as the licence holder.

Planning effective preventative and protective measures  e.g.  fire precautions,  traffic arrangements, first aid,  checks on and maintenance of electrical, oil, gas and fire-fighting installations or equipment, maintenance of other safety equipment or mechanical equipment, repair and maintenance of all buildings or building components to prevent risk to users, ensuring evacuation procedures or other drills are effective, ensuring procedures are in place for all such  measures and ensuring statutory duties are met  such as those required by the Fire (Scotland) Act 2005, Health and Safety at Work etc Act 1974, Building (Scotland) Act 2003 or the Food Safety Act among others.

Having a written statement of policy, organisation and arrangements   i.e. write down the detail of how all these measures will be undertaken, and by whom, and make them known to all those who will have any role in ensuring the health and safety of the public or employees.

Organising work and activities in a safe way to ensure that people are trained and competent to carry out work or activities without risk of an accident or danger to health e.g. employing only qualified and/or competent persons to undertake work, ensuring that all safety measures are taken to protect both the workers and public, ensuring that supervisory staff or attendants are effectively trained and aware of their duties.

Ensuring that risks are controlled  e.g. carrying out risk assessments in respect of all activities likely to occur, and taking appropriate action  where risks are identified.

Monitoring and reviewing the preventative and protective measures  e.g. carrying out daily checks to ensure that the measures which are proposed are actually carried out and effective; reviewing procedures and measures to take account of alterations, unusual events, changes in staff, equipment or materials.

The Council will expect applicants to produce evidence that management issues have been fully addressed as these are essential components in ensuring the health  and safety of members of the public.

For temporary events it is important that applications are made at an early stage, preferably at least three months, but certainly no later than 2 months, prior to the event.

3.	INFORMATION REQUIRED BY THE COUNCIL, SCOTTISH FIRE AND RESCUE SERVICE AND POLICE SCOTLAND BEFORE CONSIDERING YOUR APPLICATION

3.1	Provision of Plans

An application for licence in respect of a marquee or marquees should be accompanied by a plan of the premises.  These plans should include a floor plan, ideally to a scale of 1:50.  A site plan to a scale of 1:500 should also be provided.

- Floor Plan

The floor plan and accompanying documentation should show details of the following:

- Location of exit signs

- Location of fire exits, entrances, openings and stairs

- Fire-fighting points

- Location of emergency lights, if applicable

- Toilet accommodation – giving number of appliances for each sex, and disabled persons

- Fixed or temporary seating arrangements

- Stage areas and construction

- Temporary structures

- Modular demountable staging

- Kitchen or Catering areas including bar areas

- Disabled viewing gallery

- Position of structural components, poles and guy ropes, etc

- Lighting points including emergency lighting

- Drinking water points

- Floor specification and make up

- Location of generators and power supplies

- The Site Plan

The site plan should give details of the following:

- Parking provision

- Position of footpaths or private roadways within the site (indicate details of one-way systems etc)

- External lighting points

- Site of any LPG or fuel storage areas

- Location of overhead or temporary power lines or cables

- Position of fire points,  fire hydrants or water supplies

- Emergency access for fire appliance

- Pedestrian access routes

- First aid and medical points

- Perimeter and barrier fencing

- Toilet accommodation and soakaways (including details of same)

- Any lighting, sound or stage structures or towers

- Location and type of fairground rides and amusements

- Event control points

- Animal housing areas

- Dangerous animal housing or display areas

- Motor vehicle race areas

- Location of nearest noise-sensitive premises

- Firework/pyrotechnics display areas

- Details of water supply including course or site of any private water supply and drinking water points

- Campsites

3.2	Access for Emergency Vehicles and Internal Routes

(a)	The site should be arranged to allow for adequate access for fire appliances and other emergency vehicles to within 45metres of any structure including fuel storage facilities.

Access routes should not be less than 3.7 metres wide, should have no overhead structure or cables less than 4 metres above the ground, and should be capable of taking the weight of fire appliances (approx. 17 tonnes) in all weathers.

Turning facilities should be provided in any dead-end access route which is longer than 20 metres.  Where access routes to and within the site are accessible via bridges, the weight restriction of the bridge should not be less than the weight of the vehicle expected to use it.

(b)	Emergency vehicle routes within the site should be clearly marked to identify them as such, and should be kept clear at all times.

(c)	Car parks should be sited away from marquees and large tents and parking should not be allowed on internal routes or between tents.

(d)	Access to fire hydrants and other water supplies should be free from obstruction with the hydrants being clearly indicated.

(e)	In order to reduce the risk of fire, grass should be cut as short as possible before marquees and large tents are erected, and the cuttings cleared away to a safe place.

In exceptionally dry weather, special care may be required, i.e. dampening the site down before erecting the tentage.

(f)	The use of a telephone or another method of calling the Fire Brigade in the event of a fire should be provided.

(g)	The spacing between portacabins, caravans and other structures should not be less than 6 metres.

(h)	Consideration should be given as to where persons should be evacuated to and an evacuation procedure produced following a Fire Safety Risk Assessment being carried out.  This procedure must clearly explain to all staff and stewards the action to be taken to evacuate the event/area.

3.3	Emergency Exits

(a)	Where an event is licensed for public entertainment and more than 50 people are present, doors should be conventional (i.e. a fixed frame and door set fitted with panic bolts or latches).  Where such doors are provided, the door frame sills and the ground in the immediate vicinity of the doorway should be levelled to avoid the risk of people tripping.

Where the marquee is of the traditional "pole" type and is to be erected on uneven ground, a solid door frame may not be suitable.

Alternatives are to provide a single-action, outward-opening device or outward-opening velcro fastening of a width suitable to the number of people likely to use the exit.  The velcro fastening, under reasonable pressure, can allow the whole wall to open back providing a wide exit.

NOTE:-  IF VELCRO FASTENING DEVICES ARE TO BE USED THEN THESE DOORWAYS MUST BE PERMANENTLY STEWARDED.

(b)	All exit doors forming a means of escape must be clearly and conspicuously marked with the method of opening.

(c)	Escape routes leading to Emergency Exits must be at least 1.3m wide and should be kept clear at all times

(d)	At all times when persons are within the structure, the doors which afford a means of escape should not be locked or fastened in such a manner that they cannot be easily and immediately opened from the inside, without the use of a key.

(e)	All exits for means of escape purposes must be clearly and conspicuously indicated.

(f)	Every structure should be provided with exits, which are sufficient for the number of occupants in relation to their width, number and siting.  Normally no exit should be less than 1.05 metres wide.

| - Minimum Clear Width of Exit | Number of Persons |
| --- | --- |
| 1.05 metres | 1 to 160 |
| 1.65 metres | 161 to 240 |
| 1.95 metres | 241 to 320 |

(g)	Where the structure is intended to hold more than 60 persons, there should be not less than 2 exits.

(h)	Linking of Temporary Structure – It is essential to ensure that there are adequate means of escape from all parts of the combined structure, including (where necessary) the link itself.  Linking Structures and tunnels should be constructed with fire resistant materials as set down in section 3.6.

3.4	Emergency Lighting

(a)	All parts of the structure to which the public have access and all external exit ways should, if intended for use in the absence of daylight or where the fabric of the tested structure reduces visibility, be provided with normal lighting capable of providing sufficient illumination of those parts for the public to leave the structure safely.

(b)	A minimum standard of illumination should be maintained so that the structure cannot be plunged into total darkness whether deliberately or accidentally.  Emergency lighting installed to comply with British Standard 5266: Parts 1-7: 1999/BS EN 1838: 1999 will be deemed to satisfy this requirement.

The emergency lighting system should be regularly serviced and should be tested before the public are admitted to the structure.

(c)	If at any time there is a failure of normal lighting, all parts of the structure to which the public have access, and all external exit ways should immediately be illuminated by some alternative means which enable the public to see their way to a place of safety out of the structure.

(d)	The normal lighting should be kept on at all times when the public are in the structure, except in any part which is well lit by daylight, and should illuminate all exit fire safety signs, unless they are self-luminous fire safety signs.

(e)	In the case of temporary structures which are erected for a limited period or are used as part of a travelling entertainment, a current certificate signed by a competent person confirming that the emergency lighting installation meets the requirements of British Standard 5266: Parts 1-7: 1999/BS EN 1838: 1999 should be acceptable, subject to a functional test prior to the first admission of the public.

- Heat producing luminaires should be installed sufficiently clear of combustible materials to avoid the risk of fire.

- Where portable generators are to be used, a minimum of two generators must be run simultaneously on separate lighting circuits to prevent a total blackout during the event.  Both generator lighting circuits must clearly illuminate all Emergency Exits and the routes and signage leading to the exits

  - Temporary Structures (including all tents large or small)

- Detailed structural plans of any temporary raised platforms or other structures used for seating, staging, lighting and sound equipment will be required.  These will require to be accompanied by a structural engineer's certificate certifying their adequacy and suitability for the site and clearly stipulating any loading or other restrictions.

- Procedures must be put in place to ensure temporary buildings can be dismantled to a safe condition in the event of inclement weather being forecast.  Particularly where winds will approach gusts of 54m/sec.

3.6	Requirements Under British Standard 7837:2009

(a)	Structure fabrics must conform with test 2B (Bottom Edge Ignition) of BS 5438: 1989.

(b)	All unattached lining materials should comply with British Standard          5867.  Specification for fabrics, for curtains and drapes: Part 2 1980          flammability requirements.

(c)	All attached linings and drapes must conform to test 2B (Bottom Edge

Ignition) of BS 5438: 1989.

3.7	Means for Fire Fighting

The level and provision of fire-fighting equipment should be agreed in advance of the event and will vary according to the local conditions and the structures and activities on site.  The installation and maintenance of portable fire extinguishers should conform to British Standards BS EN3 and BS 7863: 1996.  Where possible, firefighting equipment should be grouped to form fire points and these should be clearly and conspicuously indicated by the symbol described in the Health and Safety (Safety Signs and Signals) Regulations 1996.

One portable 9 litre water based extinguisher must be provided for each 200 square metres of floor area or part thereof.  Also, special risk areas (bar, stages, kitchen etc) must be provided with at least one multipurpose extinguisher at each location, eg.

| TYPE OF EQUIPMENT | NUMBER/SIZE | LOCATION | IS EQUIPMENT REGULARLY MAINTAINED |
| --- | --- | --- | --- |
| Water Extinguisher | 4 x 9 ltr | At the front of the structure as marked on the plan | Yes |

3.8	Means for Giving Warning

(a)	Means should be provided for giving warning in case of fire and any other emergency.  The means of giving warning should be such as to avoid creating alarm for the public whilst giving instant warning to appropriate members of staff or stewards.  The use of a public address system with an agreed procedure may be sufficient.

(b)	A fire alarm system, if required, should comply with the recommendations for Type M of British Standard 5839: Part 1, current edition, and where an alarm system is installed to comply with the British Standard a completion certificate should be provided.  There may, however, be situations where a simpler means of raising the alarm could be regarded as adequate. This would be determined through the fire safety risk assessment process for the event.

(c)	Manually operated sounders may be acceptable if each sounder will give a warning which is audible throughout the structure during a performance.  Gongs, triangles, klaxons, bells and whistles may be acceptable as sounders, provided that they cannot be confused with any entertainment in progress.

(d)	Manual fire alarms should be mechanically reliable and the position chosen for the operation of any sounder should be as safe as possible from the effects of any fire risk. i.e. away from storage spaces, kitchens, etc.

(e)	Electrical "break-glass" call points should be situated on escape routes and be provided on a scale which allows any person to reach a call point without travelling more than 30m.  Manual call points should comply with British Standard 5839: Part 2.

(f)	Any verbal warning to the public which requires them to leave the structure or site immediately should be phrased positively to leave the public in no doubt.

(g)	There must be a procedure to shut off the entertainment or noise to enable the alarm/P.A. to be heard.

3.9	Fire Service – Risk Assessment Pro-Formas – Stall Holders

- When applying for an event/activity which is to be held outdoors, the applicant must ensure that any food concessions, traders or market stall holders attending the event complete a fire risk assessment. Where food is to be sold by the trader the `food Concessions’ form should be completed.

- It is the responsibility of the licence holder to retain the completed risk assessments and to have these available for inspection by the Fire and Rescue Service at all times.

- Please do not send the completed documents to either Dumfries and Galloway Council or the Fire and Rescue Service, they should be retained by the individual traders.

- These pro-forma risk assessments are intended to assist Fire and Rescue Services to deliver a consistent, auditable approach to fire risk assessment and be used by small to medium units in order to fulfil their obligations under The Fire (Scotland) Act 2005.

3.10	Stewards – SIA Website – www.the-sia.org.uk

(a)	There should be competent stewards on duty during the whole time that the public are on the premises.  These stewards should have been specifically instructed as to their essential responsibilities in the event of fire or other emergency.  Account should be taken of the additional responsibility caused by the attendance of disabled persons and children.  The SIA will advise Event Organisers which stewarding duties require to be undertaken by SIA registered stewards.

(b)	The primary duty stewards have is to ensure that safe conditions are maintained in the premises and to achieve this, they should:-

(i)	ensure that no overcrowding occurs in any part of the premises;

(ii)        co-ordinate evacuation of the structure/area in the event of an emergency;

(iii)	keep all gangways and exits clear at all times;

(iv)	prevent standing on seats or furniture;  and

(v)	be aware of any special requirements needed to ensure the safe evacuation of the audience/patrons.

(c)	Stewards should be readily identifiable to the public by means of some conspicuous clothing or marking system which is visible under all lighting conditions.

(d)	The number of stewards on duty on the premises to assist persons entering or leaving should be not less than 1 for every 250, or part of 250 persons present; and

(i)	If the number of persons on the floor or tier is less than 100, there should be at least 1 additional steward on duty on that floor or tier.

(ii)	If the number of persons present on any floor or tier exceeds 100 there should be at least 2 additional stewards on duty on that floor or tier.

NOTE:  The licensing authority may decide that because of the type of entertainment and/or the composition of the audience additional stewards should be on duty.

(e)	Where most of the audience are under the age of 16, the number of stewards on duty should not be less than one for every 100 or part of 100 within the auditorium and one steward for every 50 or part of 50 above the lowest floor.

(f)	All stewards and staff must be familiar with the type and location of Fire-fighting Equipment.

3.11	 Provision of Sanitary Facilities

(a) 	for fixed premises these should be provided in accordance with British Standard BS 6465 part 1, e.g. the table below indicates the likely number of facilities  required for a building used as a place of public entertainment (without licensed bars)

| Appliances | Males | Females |
| --- | --- | --- |
| WC | 1 for up to 250 males plus 1 for every additional 500 males or part thereof | 2 for up to 40 females 3 for 41 to 70 females 4 for 71 to 100 females plus 1 for every additional 40 females or part thereof |
| Urinals | 2 for up to 100 males plus 1for every additional 80 males or part thereof |  |
| Wash Basins | 1 per WC and in addition 1 per 5 urinals or part thereof | 1 plus 1 per 2 WCs 0r part thereof |
| Bucket/cleaner’s sink | Adequate provision should be made for cleaning facilities including at least one cleaner’s sink |  |

(b) 	For temporary events the table below shows a general guideline. This is based on a music event, though these figures may be too high for short duration/'non peak period events such as country fairs and garden parties, or too low for events with high levels of fluid consumption or where camping will occur.

Washing facilities

Where possible, provide hand-washing facilities in the ratio of one per five toilets with no less than one hand-washing facility per ten toilets provided. Provide suitable hand-drying facilities. If paper towels are supplied, arrange for regular disposal and restocking.

Where warm water hand-washing facilities are available, provide adequate supplies of suitable soap. Antiseptic hand wipes or bactericidal soap should be provided where warm water is not available.

On sites where hand-washing facilities are supplied in the open air, consider the management of the facility to ensure that the surrounding ground does not become waterlogged leading to localised flooding.

Sanitary Facilities for Disabled Persons

These should be provided within the overall number of facilities required, as follows:-

(a)	At least 1 unit (wc and washbasin) of unisex sanitary accommodation and accessed independently of any other sanitary accommodation;  or

(b)	Where provided integrally within separate sanitary accommodation for males and females, at least 1 unit (wc and washbasin) of each unisex sanitary accommodation for each sex.

NOTE:-  A greater provision may be required dependent upon the distances between facilities.  The total distance to be travelled from any point to the sanitary accommodation should not be more than 45m.

3.12	Electrical, Mechanical and Gas Safety

(a)	For events or premises using a permanent electrical installation an application for licence should be accompanied by an up to date electrical report which states that the electrical installation is in a satisfactory condition. The report should be in the format prescribed in Appendix 6 of BS 7671. For inspections prior to 1 January 2012 the correct format would be a Periodic Inspection Report. After this date the required format is an Electrical Installation Condition Report. Either form should be completed in accordance with the relevant Best Practice Guide on classification codes published by the Electrical Safety Council. For a completely new installation an electrical installation certificate is the appropriate format. The certificate will require to be signed by a qualified person who is

- A professionally qualified electrical engineer

- A member of the Electrical Contractors Association

- A member of the Electrical Contractors Association of Scotland

- A certificate holder of the National Inspection Council for Electrical Installation Contracting

- A Certificate Holder of the Scottish Electrical Certification (SELECT) scheme

Where the electrical report expires during the period in which the public entertainment licence is in force then an updated report shall be submitted to the Council as soon as possible thereafter.

For events or premises using a temporary electrical installation, an application for licence should be accompanied by written confirmation from a qualified person that the electrical installation will be completely and safely installed under his/her supervision prior to the public being allowed access to the site)

(b)	For events or premises using pressure vessels, lifts and lifting equipment or other equipment which is statutorily required to be inspected at regular intervals for safety purposes, an application should be accompanied by a copy of an up to date satisfactory inspection report.

(c)	For events or premises using a gas installation the applicant will require to provide certification of inspection by a Gas Safe registered person qualified to inspect the equipment certified.  Such certification will require to indicate that the installation complies with statutory gas safety requirements.

(d)	For events or premises using moving equipment or machinery such as fairground rides the applicant will require to provide a certificate of fitness from an independent and suitably qualified person.

3.13	First Aid & Medical Arrangements

The extent to which medical and first aid facilities will be required will vary widely depending on the nature of the event.  The Health & Safety Executive’s publication HSG 195 “The Event Safety Guide” gives guidance on facilities which should be provided at larger events.  A minimum of two first aiders would normally be expected at small events.

3.14	Management of Health & Safety at Events

Management of Events

(a)	Persons providing public entertainment have a duty of care to those using the premises or venue for that purpose.

(b)	An effective system of management for the health and safety of employees and the public is an essential component in fulfilling that duty of care and must therefore address every aspect of health and safety. It requires that you examine your premises or venue, and the activities you intend to undertake, to ensure that there is no unacceptable risk to the health safety and welfare of those who enter the premises or venue.   It includes ensuring that the building or venue are inherently safe, including equipment in the premises or venue and any activities carried out there.

- An effective system of management should include the following components:

A written statement of how you will arrange control measures to ensure employees and the public’s Health and Safety will require to be provided.  Details required are

  - Person or persons responsible for Health and Safety Planning and Implementation

  - Qualifications/competencies of people undertaking work activities

  - Training of staff or attendants

  - Plant and equipment maintenance records

  - Written risk assessments of all activities (see examples below)

  - Arrangements for monitoring control measures.

(d) 	Risk Assessments – A risk assessment is nothing more than a careful examination of what, at your event, could cause harm to people, so that you can weigh up whether you have taken enough precautions to make sure that no one gets hurt.  There are five basic steps:-

STEP 1: Look for the hazards

STEP 2: Decide who might be harmed and how

STEP 3: Evaluate the risks and decide whether the existing

precautions are adequate or whether more should be done

STEP 4: Record your findings

STEP 5: Review your assessment and revise it if necessary

The amount of detail required in a risk assessment will vary greatly depending on the type of premises or event.  There are also many ways in which the assessment can be recorded, however, in all cases KEEP IT SIMPLE.

3.15	Third Party Liability Insurance

The licence holder must provide proof that he holds third party liability insurance giving a minimum level of indemnity of TEN MILLION POUNDS

3.16	Who are the relevant Contacts?

- Police Scotland – Community Officer 101

- Scottish Fire and Rescue Service (Station Manager – Prevention and Protection Department 01387 252222 ext 64977

- Environmental Health 01387 245972/0303 333 3000

- Licensing – 01387 245922

- Building Standards – 0303 333 3000

# PUBLIC ENTERTAINMENT LICENCE

# Conditions in respect of FREE OUTDOOR MUSIC EVENT/FESTIVALS

General

1.	Dumfries and Galloway Council, as a local authority committed to equal opportunities, expects licence holders to provide the licensed entertainment or recreational activity to members of the public in a manner which does not discriminate unfairly and irrespective of the Age, Disability, Gender reassignment, Marriage and Civil Partnership, Pregnancy and maternity, Race, Religion and belief, Sex, Sexual Orientation (The Protected Characteristics) of the customer.

2.	In these conditions “statutory agencies” include Police Scotland, Scottish Fire & Rescue Service, Environmental Health and other officials whilst undertaking their statutory duties or invoking statutory powers.

3.	The licence holder will display the licence in a prominent position at the main entrance to the premises where it may be easily read by members of the public and shall not in any way alter, erase or deface this licence.

4.	The licence holder will advise the Council immediately if he is charged or convicted of any crime or offence during the currency of the licence.

5.	The licence holder or another responsible person (not being under the age of 21 years of age) nominated for the purpose by him shall be present and in charge during the whole period of time that the public are on the premises.

6.	The licence holder shall immediately inform the Licensing Authority of any change in his or her private address.  If not a natural person, the licence holder shall notify the Licensing Authority in writing of any change in the partnership or directorate of the company.

7.	A notice must be clearly displayed to customers giving details of the owner of the business, together with an address at which service of any document relating in any way to the business will be effective.

Staffing

8.	The licence holder shall ensure that there are sufficient competent staff to supervise the running of the entertainment.

9.	The licence holder shall ensure that suitable written operating and emergency procedures, as agreed with the statutory agencies, are provided and that all staff are conversant with these procedures.

10.	No person who is under, or appears to be under the influence of alcohol or drugs shall be permitted to take any part in the entertainment.

Insurance and Records

11.	The licence holder will maintain and exhibit to any authorised officer of the Licensing Authority or Statutory Agencies an insurance policy in respect of Public Liability in respect of the entertainment to a limit of not less than £5 million.

12.	The licence holder should be familiar with and comply with the guidance contained in “The Events Safety Guide – A Guide to Health and Safety at Music and Similar Events” (the Purple Guide) issued by the Health and Safety Executive, and ensure that staff are also familiar with and comply with the guidance.  The licence holder shall exhibit an event safety management plan including health and safety policies, risk assessments, site safety plans, crowd management plans, transportation management plans, major incident plans and first aid safety plans and any other documentation or records referred to in the guidance on demand to any authorised officer of the Licensing Authority or Statutory Agencies.

Nuisance

13.	All amplified music and speech shall be controlled in such a manner so as not to cause nuisance, and without prejudice, to the foregoing generality, the licence holder must comply with the terms of the Environmental Protection Act 1990 in so far as these relate to the emission of noise.

Equipment and Safety

14.	The licence holder shall ensure that all areas of the site are accessible to the Scottish Fire and Rescue Service, Police Scotland and other Statutory Agencies at all times including in case of emergency.

15.	The event must be fully set up before the public are admitted in order that an inspection may be carried out by the Scottish Fire and Rescue Service, or his representative, any constable or any authorised officer of the Licensing Authority or other Statutory Agency, if required.

16.	The licence holder shall ensure that the site conforms to the requirements of the Health and Safety at Work etc Act 1974 and any relevant regulations or orders or any amendments to the Act, regulations or orders.

17.	All temporary structures must conform to the relevant technical guidance to the satisfaction of the Council’s Building Standards Service and all necessary statutory consents and approvals will be obtained by the licence holder.

18.	Any temporary electrical installation must to be carried out by or under the supervision of a competent electrician.

19.	The licence holder shall ensure that adequate first aid facilities are provided at the site.

20.	The licence holder shall ensure that the maximum occupancy figure of *** recommended by the statutory agencies is not exceeded.

21.The licence holder shall comply with any order or instruction given by the Police, Fire Authority or authorised Council Officer for the prevention of annoyance or in case of emergency (including an order to close the premises for a limited period.)

22.	The licence holder will comply with crowd control and stewarding requirements as instructed by the Statutory Agencies.

Facilities

23.	Licence holder shall allow catering facilities to be inspected by authorised officers of the Licensing Authority on demand and comply with any recommendations made by said officers.

24.	The licence holder shall ensure that a suitable and sufficient supply of hot and cold water is provided in all catering facilities.

25.	Adequate toilet accommodation will be provided in accordance with “The Events Safety Guide - A Guide to Health, Safety and Welfare at Music and Similar Events” issued by the Health and Safety Executive.

Enforcement

26.	The Licensing Authority may order suspension of this licence if in its opinion a condition has been contravened.  During the period of suspension the licence would cease to have effect and continuing to operate would render the Licence Holder liable to prosecution.

Authorised Officer

Date: